## Sheet1
Course Plan-PPS
Name of Unit | Topic | No. of Lecture
Unit-1 (part-I) Causes and consequences of dangerous currents | Faults, overloads and switching over currents | 1
| Introduction to protection, trip circuit of a circuit breaker | 1
| Functional characteristics of a relay | 1
| zone of protection, primary and backup protection | 1
Unit-1 (Part-II) CTs &PTs | Current transformer construction, | 1
| measurement and protective CTs. Type of potential transformers | 1
| Steady state ratio and phase angle errors in CTs and PTs | 1
| Transient errors in CT and CVT (Capacitive Voltage Transformer) | 1
Unit-2 (part-I) Over current Protection | HRC fuse and thermal relay, Over current relays –instantaneous, definite time, inverse time and inverse definite minimum time Over current relays | 1
| time and current gradings overcurrent relays | 1
Unit-2 (part-II) | Induction disc type relay | 1
| Directional over current relay, 300 connections, Directional over current relay, 60 and 90 connections | 1
| Earth fault relay | 1
| Brief description of over current protective schemes for a feeder | 1
| parallel feeders and ring mains | 1
Unit-3 Generator Protection | Stator protection–differential protection,percentage differential | 1
| protection against stator inter-turn faults | 1
| stator overheating protection | 1
| Rotor protection-protection against excitation | 1
| Rotor protection-protection against prime mover failure | 1
| Field earth fault | 1
| Protection against unbalanced stator currents (negative sequence current protection) | 1
Unit-4 (Part-I) Transformer Protection | Percentage differential protection, magnetizing inrush current | 1
| percentage differential relay with harmonic restraint, | 1
| Buchholz relay, Differential protection of generator transfer unit | 1
Unit-4 (Part-II) Bus bar Protection | Differential protection of busbars | 1
| High impedance relay scheme | 1
| frame leakage protection | 1
Unit-5 Transmission Line Protection | Introduction to distance protection. Construction, operating principle | 1
| characteristics of an electromagnetic impedance relay,Effect of arc resistance | 1
| Induction cup type reactance and mho relays | 1
| Comparison between impedance, reactance and mho relays | 1
| Three stepped distance protection of transmission line | 1
| Introduction to various faults and abnormal operating conditions | 1
| unbalanced supply voltage and single phasing | 1
| Introduction to protection of induction motors- HRC fuse and overcurrent | 1
| percentage differential, earth fault and negative sequence voltage relays | 1
| Total | 37